## Slide 1
Regulatory and market innovation
OFFSHORE ENERGY ISLANDS
7 MAY 2024, BORNHOLM BALTIC ENERGY ISLAND SUMMIT
Lena kitzing,
head of Division Wind ENERGY SYSTEMS, Technical UNIVERSITY OF DENMARK

## Slide 2
Integration of offshore wind – from current practice to future
Source: Juan Gea-Bermudez, PhD thesis, Modelling and optimization of the North Sea region's energy system in the long term, link
Strong reinforcement of the grid is needed to integrate large shares of VRE in a cost-effective way
An extensive offshore grid is crucial in all decarbonisation scenarios
Notes: PTDF: Power transfer Distribution function

## Slide 3: Anticipatory investments: There is value in ”intertemporal offshore grid planning”, i.e. building now looking ahead
2030
2050
Considering future expected hub development in today’s interconnector investments is important to reduce overall costs of the system
Notes: Lets now focus on offshore grids.
The picture shows the offshore grid resulting from the optimization in 2030 and 2050.
Different purpose of the line in 2030 and 2050! Only as C2C dispatch in 2030, and double use in 2050 (blue dot is the wind farm).
With this planning, emissions and costs are reduced.
Without performing intertemporal optimization, this result was not possible

## Slide 4: Regulation and Market Challenges in the new offshore paradigm
MARKET
GRID
HUBS
Bidding zones
Market Coupling
Park-to-Park effects
Hub-to-Shore
Cost uncertainty
Supply Chains
Park-to-Hub
Anticipatory Investments
Interconnectors
Profit requirement
Curtailment
CfD
TAG
Revenue guarantee
PARKS
Compensation
Hub-to-Hub
Notes: Some say : comensation against volume risk
Price risks addressed through CfD / but can also be tackled through TAGs –
Future price risks through revenue guarantees , but would not be an issue if CfDs…
There all have benefits and disadvantages - /pros and cons – I cannot go through all of these – but food for discussion for the session

## Slide 5: Principles for regulation and policy design
Short-term efficiency / socio-economic welfare maximisation
Foresight & anticipatory investments
Long-term sustainable investment environment
Speed of implementation
Feasibility of (international) agreement
>> A moving target that depends on interrelated factors where outcomes and decisions all influence one another
Tradeoffs and risk considerations:
Volume risks & price risks
Today’s risks & future risks
All need to be balanced

## Slide 6
Questions & Answers
THANK YOU
CONTACT ME AT:
LENA KITZING, lkit@dtu.dk
LinkedIn
@LenaKitzing